## Sheet1
				Preventive Maintenance Checklist
				Glass Washer / Disinfector

PM Date:							Make:
Customer:							Model:
Facility:							Serial #:
Room:							Asset #:
							Tech:

Check for Water Leaks									Pass		Fail
Check internal chamber fittings for tightness: water intake, door dispensers.
Remove service panels and check for internal leaks.
Check the condition of the water hoses, water intake filters, and drain hoses
Inspect the liquid dispensing system
Check the pumps, pump housings, and hoses.
Check solution refill lamp operation.
Inspect internal drain system
Check the condition of sump drain screens. Replace as necessary.
Check the condition of the baskets
Check the adjustment and condition of the feed tube connectors.
Check the condition of the baskets and injectors. Replace if necessary.
Check the wheels / rollers on the baskets.
Check the condition of the gasket and lock nut at the bottom of the feed tubes
Check the condition of the door seals, door latch, and spray arms
Check the front, lower, and inner seals.
Check that the door latch is tight and door tension is properly adjusted.
Remove the upper and lower spray arms and inspect.
Run complete wash and dry cycle, verify cycle completion without fault

Parts Replaced
Description						Part #					Quantity Needed

Notes:

		This inspection was performed in accordance with manufacturer specifications.